## Slide 1
Read
Button Inputs
Temp+/-?
Inc/Dec
Set Temp
Override?
Set New_Boiler = on
Set BTimeOff = now + 30min
Read
RTC
Read
Thermometer
Set TempTime=now + temp delay
Read
Set Temp for
Time now
Set Temp
>
Current?
Set New_Boiler
= on
Read
PIR
Tripped?
Set Backlight on
Set LightTimer=
now + 30s
[Turn Boiler off]
Boiler_on = 0
[Open Relay]
Yes
Yes
Yes
Yes
new_boiler == off &&
Now >= BTimeOff
Set New_Boiler
= off
True
[Turn Boiler on]
Boiler_on = 1
[Close relay]
No
False
Store new Set Temp
For time now
Display:
Current Date + Time
Current Temp + RH
Set Temp
Boiler Status
(BTimeOff - now)
If mins != last_tx_mins
Send status
Now > LightTimer?
Set Backlight
off
Now >=
TempTime
Yes